Workplace Inspection Checklist

For use in Office Areas

How to use this Office inspection checklist

- Use this checklist to inspect offices, and associated corridors, stairs and communal areas such as toilets and kitchenettes/tea rooms.

- Inspections should be carried out at least once per year.  Inspections should be done when offices are occupied by staff and students, to get a true picture of conditions and practices.

- Consider getting a team together to help you.  The team should be limited to four people and could include your DSE Assessor.

- Carry out inspections in manageable chunks.  Divide your area into separate buildings, corridors or floors.  Use one checklist per corridor or floor and record details of faults or weaknesses.

- When you have carried out an inspection and recorded any faults or weaknesses found, report to your Faculty Operating Officer/Director of Professional Service, together with your comments and recommendations for action.

- Keep a copy of each completed inspection checklist and record action taken to correct the faults you have reported.

OFFICE INSPECTION CHECKLIST

The answer to all these questions should be ‘yes’.  If ‘no’ you should note the location and brief details and investigate the problem further to identify actions.

| Areas inspected |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Inspected by |  |  |  |  | Date |  |

| HAZARD | YES/NO |  | COMMENTS (location & brief details) |  | ACTION TAKEN or RECOMMENDED (with completion dates) |  |
| --- | --- | --- | --- | --- | --- | --- |
| Space and Layout |  |  |  |  |  |  |  |
| Is there enough space to move around safely? (minimum of 11 cubic metres per person) |  |  |  |  |  |  |
| Can everyone sit at their workstations comfortably? |  |  |  |  |  |  |
| Is there enough desk space for the work & equipment in routine use? |  |  |  |  |  |  |
| Have display screen equipment (DSE) workstation assessments been completed for all DSE users & are they still valid? (see Display Screen Equipment Code of Practice) |  |  |  |  |  |  |
| Is there enough space for storage? |  |  |  |  |  |  |
| Is the area clean & free of clutter? |  |  |  |  |  |  |
| Is rubbish collected often enough? |  |  |  |  |  |  |
| Environment |  |  |  |  |  |  |  |
| Is the room temperature comfortable? (Note: Should be >16 oC. No area shall be actively heated to a temperature greater than 20oC ± 1°C) |  |  |  |  |  |  |
| Is there enough fresh air, without draughts? |  |  |  |  |  |  |
| Is there adequate space around photocopiers to prevent a build-up of smells from fumes? |  |  |  |  |  |  |
| Can the windows be opened easily? |  |  |  |  |  |  |
| Are windows in clean & safe condition? |  |  |  |  |  |  |
| Are blinds fitted to reduce glare or temperature? |  |  |  |  |  |  |
| Is lighting adequate in all areas? (in working order, clean & free of flicker or glare) |  |  |  |  |  |  |
| Slips, Trips and Manual Handling |  |  |  |  |  |  |  |
| Are floor surfaces, carpets etc. in a safe condition? (No cracks, tears, fraying, slippery or uneven spots etc.) |  |  |  |  |  |  |
| Are floors free of trailing cables, boxes & other trip hazards? |  |  |  |  |  |  |
| Are stepladders or stools used to reach high shelves of a suitable height & in safe condition? |  |  |  |  |  |  |
| Are heavy & awkward items stored at waist height where possible? |  |  |  |  |  |  |
| Are trolleys available for moving heavy or large loads? (manual handling assessments needed for handling heavy or awkward loads) |  |  |  |  |  |  |
| Fire - contact Campus Facilities Manager if problems with fire doors, extinguishers or notices |  |  |  |  |  |  |  |
| Are combustible materials and ignition sources kept to a minimum? |  |  |  |  |  |  |
| Are combustible materials kept away from potential ignition sources? |  |  |  |  |  |  |
| Are flammable & hazardous chemicals used & stored safely? (Risk assessments needed for chemicals with hazard warning labels on container) |  |  |  |  |  |  |
| Are smoking rules followed? |  |  |  |  |  |  |
| Are fire extinguishers in the correct place and fitted with seals? |  |  |  |  |  |  |
| Are fire doors unobstructed and do they self-close properly? |  |  |  |  |  |  |
| Are vision panels in doors unobstructed? |  |  |  |  |  |  |
| Are fire exits & escape routes free of obstructions? |  |  |  |  |  |  |
| Do final exit doors open easily? |  |  |  |  |  |  |
| Are up to date fire action notices displayed adjacent to manual fire alarm call points? (what to do in event of fire & fire assembly points) |  |  |  |  |  |  |
| Have a sufficient number of suitably trained fire wardens been appointed for this area? |  |  |  |  |  |  |
| Have staff received recent instruction on fire safety and fire procedures? (within last year) |  |  |  |  |  |  |
| People With Disabilities |  |  |  |  |  |  |  |
| Is there access for people with impaired mobility? (e.g. wheelchair users) |  |  |  |  |  |  |
| Is there access to disabled toilets within reasonable distance? |  |  |  |  |  |  |
| Do emergency evacuation procedures include people with disabilities? (eg those who have impaired mobility, or can’t hear fire alarms or see fire exits) |  |  |  |  |  |  |
| Are there up-to-date Personal Emergency Evacuation Plans (PEEPS) for individual staff and students, if necessary? |  |  |  |  |  |  |
| First Aid |  |  |  |  |  |  |  |
| Are up to date posters displayed with names & locations of trained first aiders? |  |  |  |  |  |  |
| Are first aid boxes clearly marked & kept fully stocked with stock that has not exceeded a given expiry date? |  |  |  |  |  |  |
| Do staff and students know how to access and use the online incident reporting system (Assure Go+)? Assure - Portal |  |  |  |  |  |  |
| Fabric, furniture, Fittings & Equipment |  |  |  |  |  |  |  |
| Does the fabric of the room appear sound? (e.g free from significant cracks, damp or other damage) |  |  |  |  |  |  |
| Are furniture & fittings in good condition? (e.g. chairs, desks, shelving etc.) |  |  |  |  |  |  |
| Is all office equipment working properly? (ask people who use it) |  |  |  |  |  |  |
| Are hot, sharp or dangerous moving parts guarded? |  |  |  |  |  |  |
| Are instructions manuals available? |  |  |  |  |  |  |
| Are there enough accessible power points to avoid overloading sockets? |  |  |  |  |  |  |
| Is all portable electrical equipment tested regularly? (In accordance with Portable Appliance Testing Guidance- check test labels) |  |  |  |  |  |  |
| Does all electrical equipment (including fixed and portable heaters) pass visual inspection? |  |  |  |  |  |  |
| Visual Inspection Switch off and disconnect (unplug) equipment before inspecting. Then look for danger signs |  |  |  |  |  |  |  |
| Is the cable covering intact? |  |  |  |  |  |  |
| Is there damage to the plug - is the casing intact and pins straight? |  |  |  |  |  |  |
| Is the lead intact without any joins? |  |  |  |  |  |  |
| Is the outer covering of the cable gripped where it enters the plug or equipment (see if the coloured insulation or copper of the internal wires are completely covered). Is the plug, equipment or socket free from indications of overheating (eg brown burn marks) label any faulty equipment with ‘do not use’ signs & take out of use until checked by an electrician. Encourage other staff to report any faults or damaged equipment |  |  |  |  |  |  |
| Toilets |  |  |  |  |  |
| Are there enough toilets provided? (see HSE guidance for more details) |  |  |  |  |  |
| Are toilets & washbasins clean & in working order? |  |  |  |  |  |
| Are hot and cold (or warm) running water, soap and towels (or other cleaning/hand drying facilities) provided in the toilets? |  |  |  |  |  |
| Kitchenettes/Tea Rooms |  |  |  |  |  |  |  |
| Are floor & surfaces clean & tidy? |  |  |  |  |  |  |
| Is drinking water available? |  |  |  |  |  |  |
| Are power points & cables a safe distance from wet areas? |  |  |  |  |  |  |
| Are microwave oven door seals clean & undamaged? |  |  |  |  |  |  |
| Is the fridge clean & defrosted? |  |  |  |  |  |  |
| Is a fire blanket provided where electric cookers are used? |  |  |  |  |  |  |
| Are sinks and taps in working order and free from leaks? |  |  |  |  |  |
| Resource and energy use |  |  |  |  |  |  |  |
| Are heater, radiators and air ducts free from obstruction? |  |  |  |  |  |  |
| Are doors and windows closed, if heating or air conditioning is on? |  |  |  |  |  |  |
| Is lighting off in unoccupied areas? |  |  |  |  |  |  |
| Are occupancy or daylight sensors working correctly? |  |  |  |  |  |  |
| Are there adequate facilities for recycling and waste disposal and are they suitably located? |  |  |  |  |  |  |
| All waste and recycling signage / posters clear and easy to understand? |  |  |  |  |  |  |
| Other Hazards/Notes |  |  |  |  |  |  |  |