Workplace Inspection Checklist

For use in Labs only

How to use this Laboratory inspection checklist

- Use this checklist to inspect chemical and biological laboratories used for research or teaching and any associated preparation rooms and storage areas.  Use one checklist per room.

- Inspections should be carried out at least twice per year and when laboratories are occupied by staff and students, to get a true picture of conditions and practices.

- Consider getting a team together to help you.  The team should be limited to four people and could include specialist staff in chemical, biological, laser or radiation hazards if needed.

- Keep a copy of each completed inspection checklist and record the action taken to correct the faults you have reported.

LABORATORY INSPECTION CHECKLIST

The answer to all questions should be ‘Yes’ (or N/A).  If ‘No’, provide comments including details confirming what action has / will be taken, by whom and by when.

| Areas inspected |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Inspected by |  |  |  |  | Date |  |

| ITEMS CHECKED | YES | NO | N/A | COMMENTS (Provide details to confirm what action has / will be undertaken) | ACTION OWNER (Name and expected completion date) |
| --- | --- | --- | --- | --- | --- |
| Training |  |  |  |  |  |
| Have all lab personnel, students, and working visitors received an induction covering the substances, experiments and/or procedures within the laboratory? Ask occupants and / or check training documentation. |  |  |  |  |  |
| Chemical Safety |  |  |  |  |  |
| Has the lab got an updated chemical inventory list? |  |  |  |  |  |
| Has a risk assessment been conducted for all chemicals, substances, and processes that pose a physical risk and/or health hazard? This includes biological and / or genetically modified organisms, where relevant - Risk assessments should be available within the lab. |  |  |  |  |  |
| Are Safety Data Sheets (SDS) readily accessible to lab personnel for ALL chemicals/substances present in the lab space(s)? |  |  |  |  |  |
| Are chemicals, including chemical waste, properly labelled and stored / segregated by hazardous class and compatibility? (labels should include name of chemical; volume if over 250ml; owner; and date made) |  |  |  |  |  |
| Are all flammable chemicals, including chemical waste, being stored in an approved storage room or flammable liquids cabinet? |  |  |  |  |  |
| Are all chemical waste containers closed, labelled appropriately, and stored in secondary containment? |  |  |  |  |  |
| Is the lab properly disposing of hazardous waste, including licensed / regulated items and empty containers? |  |  |  |  |  |
| If mercury thermometers are used, are there documented waste and emergency procedures? |  |  |  |  |  |
| Biological Agents |  |  |  |  |  |
| Has a risk assessment been conducted and approved by the BGMS committee for all agents that pose a physical risk and/or health hazard? |  |  |  |  |  |
| If vacuum systems are used, are associated vacuum flasks equipped with an in-line filter, or dual flask, to prevent liquids from being drawn into the vacuum system? |  |  |  |  |  |
| Is an appropriate disinfectant type being used in the laboratory? |  |  |  |  |  |
| If work involves recombinant DNA studies / risk group 2 or higher biohazards / biological materials derived from humans or non-human primates, are containment measures suitable? |  |  |  |  |  |
| Are all containers, including fridges / freezers correctly labelled? (owner; date put into storage; contents, plus “disposal by validated autoclave” for genetically modified material) |  |  |  |  |  |
| Is genetically modified waste held separately? (and labelled “disposal by validated autoclave”) |  |  |  |  |  |
| Radiation |  |  |  |  |  |
| Are there clear instructions for the use of radioactive materials? |  |  |  |  |  |
| Is there a safe method of storage? |  |  |  |  |  |
| Is there a safe method of disposal? |  |  |  |  |  |
| Are all radioactive substances correctly labelled? |  |  |  |  |  |
| Are workers familiar with local rules? |  |  |  |  |  |
| Are workers adequately trained? |  |  |  |  |  |
| If required, are workers/users’ health surveillance checks up to date? |  |  |  |  |  |
| Are the following available and being used when necessary: - Double containment? - Shielding? - Remote handling facilities? |  |  |  |  |  |
| Is there an up-to-date list of emergency contact numbers displayed? |  |  |  |  |  |
| Lasers |  |  |  |  |  |
| Is access to lasers of Class 3R or above, restricted to trained users? |  |  |  |  |  |
| Are lasers correctly labelled with class and hazard warning? |  |  |  |  |  |
| Are there up-to-date laser registration forms, risk assessment forms, laser survey forms, and laser user registration forms for all lasers of Class 3R or above? |  |  |  |  |  |
| Are written procedures for use of lasers of Class 3R or above kept in the same area as the lasers? |  |  |  |  |  |
| Are warning signs displayed at entrances to any room/areas where Class 3B or Class 4 lasers are used? |  |  |  |  |  |
| Microwave Ovens or Generators |  |  |  |  |  |
| Are interlocks in working order? |  |  |  |  |  |
| Are door seals clean and undamaged? |  |  |  |  |  |
| Is the cavity clean and uncontaminated? |  |  |  |  |  |
| Ultraviolet (UV) Light |  |  |  |  |  |
| Are there suitable interlocks on doors into rooms using ultraviolet light for sterilisation? |  |  |  |  |  |
| Are warning notices displayed outside areas where UV is in use? |  |  |  |  |  |
| Gases |  |  |  |  |  |
| If Bunsen burners are used, are they in a safe condition: - clear of materials & other equipment - tubing in good condition & long enough - gas taps easy to reach & turn on & off |  |  |  |  |  |
| If gas cylinders are used, are they in a safe condition: - valves & tubing in good condition - clearly labelled with contents & hazards - correct regulators fitted - gas lines & isolators clearly labelled - appropriately secured / attached to a support or trolley, in an upright position, and capped when not in use? |  |  |  |  |  |
| If applicable, are oxygen depletion alarms provided in the space? |  |  |  |  |  |
| Liquid Nitrogen |  |  |  |  |  |
| Is handling, storage and disposal carried out in well-ventilated areas? |  |  |  |  |  |
| Are suitable PPE and tongs available and used? (insulated gloves, face shields / goggles, lab coat / overalls) |  |  |  |  |  |
| Are specifically designed and properly labelled containers used for storage and handling? |  |  |  |  |  |
| Pressure Vessels |  |  |  |  |  |
| Are pressure vessels tested regularly? |  |  |  |  |  |
| Are instructions for use displayed nearby? |  |  |  |  |  |
| Are door seals & locks free from wear or damage? |  |  |  |  |  |
| Are pressure gauges easily readable? |  |  |  |  |  |
| Noise |  |  |  |  |  |
| Can you hear someone two metres (approx. six feet) away talking in a normal voice, while machines are in use? |  |  |  |  |  |
| Are ear defenders provided and worn if needed? |  |  |  |  |  |
| Emergency Procedures |  |  |  |  |  |
| Are occupants aware of the emergency procedures relevant to the hazard(s) present in the laboratory? |  |  |  |  |  |
| Have enough, suitably trained, emergency responders been appointed for this area? (e.g fire wardens, first aiders, spill kit operators) |  |  |  |  |  |
| Does the lab have suitable chemical spill kit(s)? (with instructions for use and in date) |  |  |  |  |  |
| Are occupants aware that they MUST evacuate the building if directed to do so and not re-enter until the "all clear" has been issued? |  |  |  |  |  |
| Are first aid posters up to date and displayed with names & locations of trained first aiders? (First Aid - Poster Templates) |  |  |  |  |  |
| Are first aid boxes clearly marked and fully stocked, with content that has not exceeded its expiry date? |  |  |  |  |  |
| Do emergency evacuation procedures include people with disabilities? (e.g. those who have impaired mobility, or can’t hear fire alarms or see fire exits) |  |  |  |  |  |
| Are there up-to-date Personal Emergency Evacuation Plans (PEEPS) for individual staff and students, if necessary? |  |  |  |  |  |
| Are fire extinguishers in the correct place and fitted with seals? |  |  |  |  |  |
| Are up to date fire action notices, detailing what to do in the event of fire, displayed in labs or corridors? |  |  |  |  |  |
| Can fire alarms be heard in all areas? |  |  |  |  |  |
| Are emergency eyewashes and safety showers free from obstruction? |  |  |  |  |  |
| Are eyewash stations being flushed weekly and tested annually, and appropriate records kept? |  |  |  |  |  |
| Are the safety shower and eyewash stations annually tested? |  |  |  |  |  |
| Do occupants know how to report fires, chemical spills, exposures, and other accidents/incidents or near misses, via the University incident reporting system Assure - Portal) |  |  |  |  |  |
| Personal Protective Equipment (PPE) |  |  |  |  |  |
| Is PPE readily available and have lab personnel been trained to use it? (e.g. lab coats, gowns, gloves, face protection, hearing protection, footwear, etc.) |  |  |  |  |  |
| Is the PPE appropriate to the hazards, being worn correctly and in good condition? Check requirements against risk / COSHH assessments |  |  |  |  |  |
| Is all PPE stored in a clean, uncontaminated area? |  |  |  |  |  |
| Is suitable PPE available for emergency use? (e.g. chemical spillages or radioactive contamination) |  |  |  |  |  |
| General Safety |  |  |  |  |  |
| Are “no eating / drinking in the lab” rules followed? |  |  |  |  |  |
| Are rest & eating facilities provided outside the lab? |  |  |  |  |  |
| Are handwashing & drying facilities available in the lab, clean & in working order? |  |  |  |  |  |
| Is there access to toilets within a reasonable distance? (see HSE guidance for more details) |  |  |  |  |  |
| Does the space have sufficient width to allow safe access for people, including those with impaired mobility, e.g. wheelchair users |  |  |  |  |  |
| Are all doors or corridors free from obstructions? (Fire exit & escape routes must be unobstructed) |  |  |  |  |  |
| Are vision panels (windows) on the doors clear? (These must be unobstructed for fire safety purposes.) |  |  |  |  |  |
| Are all Fire doors able to self-close properly? (Doors should not be held and/or propped open with a door stop or other object – automatic hold open devices, which allow the door to close when the alarm sounds, are acceptable) |  |  |  |  |  |
| Are combustible materials and ignition sources kept to a minimum and away from each other? |  |  |  |  |  |
| Is spark proof equipment used if necessary? |  |  |  |  |  |
| Facilities / House Keeping |  |  |  |  |  |
| Are items stored at least 18 inches from the automatic sprinkler heads? |  |  |  |  |  |
| Are boxes and equipment stored at least 2 inches from the ground? |  |  |  |  |  |
| Are floors tiles free from damage? (No cracks, tears, fraying, slippery or uneven spots etc.) |  |  |  |  |  |
| Are floors free of trailing cables, boxes, equipment & other trip hazards? |  |  |  |  |  |
| Are ceiling tiles free from damage? |  |  |  |  |  |
| Is the lab designed to be easily cleaned? (this includes floors, benches / shelves, and equipment) |  |  |  |  |  |
| Is there enough space for storage of materials & equipment? (on shelves, cupboards, refrigerators, benches) |  |  |  |  |  |
| Is there enough clear bench space to use materials & equipment safely? |  |  |  |  |  |
| Are chairs at lab benches covered with a non-porous material and in good condition? |  |  |  |  |  |
| Laboratory Signage |  |  |  |  |  |
| Do the signs / posters, displayed on the entrance of the laboratory, reflect the correct information? |  |  |  |  |  |
| Do any stickers/signs on the laboratory equipment reflect the appropriate hazards? |  |  |  |  |  |
| Laboratory Security |  |  |  |  |  |
| Are acute toxins, biological agents, controlled substances, and radioisotopes appropriately secured within the lab? |  |  |  |  |  |
| Is the lab secure when not occupied? (Are unauthorised people prevented from accessing the lab) |  |  |  |  |  |
| Are lab personnel wearing ID cards at all times? |  |  |  |  |  |
| Are lab personnel trained to not allow other individuals access with their personal ID card? |  |  |  |  |  |
| Misc. Laboratory Waste |  |  |  |  |  |
| Are there separate and appropriate containers for: - general waste - hazardous waste - waste needing to be autoclaved before disposal - biohazardous waste - sharps - glassware, including broken glass - Pipette and pipette tips? |  |  |  |  |  |
| Are bins emptied often enough? |  |  |  |  |  |
| Ventilation |  |  |  |  |  |
| Is there enough fresh air, without draughts? |  |  |  |  |  |
| Is local exhaust ventilation provided (e.g biological safety cabinets or fume hoods)? |  |  |  |  |  |
| If yes, is it in a safe condition: - Have all units passed their thorough examination and test within the past 14 months - Are they in good condition (no cracked sash / inward airflow) - Are they tidy (they should not be used to store chemicals or unnecessary equipment) - have weekly visual inspections and monthly ventilation/extraction checks, using an anemometer, been carried out by the users? |  |  |  |  |  |
| Environment |  |  |  |  |  |
| Is the room temperature comfortable? (Note: Should be >16oC. No area shall be actively heated to a temperature greater than 20oC ± 1°C) |  |  |  |  |  |
| Are windows in a clean & safe condition? |  |  |  |  |  |
| Are blinds fitted to reduce glare or temperature? |  |  |  |  |  |
| Is lighting adequate in all areas? (in working order, clean & free of flicker or glare) |  |  |  |  |  |
| Is extra lighting provided for close work where needed? |  |  |  |  |  |
| Manual Handling |  |  |  |  |  |
| Are any stepladders or stools provided in safe condition? |  |  |  |  |  |
| Are heavy, awkward and/or hazardous items stored at waist height where possible? |  |  |  |  |  |
| Are trolleys or barrows available for moving heavy or large loads? (manual handling assessments needed for handling heavy or awkward loads) |  |  |  |  |  |
| Furniture, Fittings and Equipment Management |  |  |  |  |  |
| Is all equipment, furniture and fittings in good condition? |  |  |  |  |  |
| Is all equipment stable or securely clamped to minimise vibration or noise? |  |  |  |  |  |
| Are hot, sharp or dangerous moving parts guarded? |  |  |  |  |  |
| Are instructions manuals available? |  |  |  |  |  |
| Are there enough accessible power points to avoid overloading sockets? |  |  |  |  |  |
| Is unattended equipment (in use) labelled with details of hazards & contact person/user? |  |  |  |  |  |
| Electrical Equipment - Switch off and disconnect (unplug) equipment before inspecting. |  |  |  |  |  |
| Has all portable electrical equipment been tested in accordance with Portable Appliance Testing Guidance (check test labels) |  |  |  |  |  |
| Does all electrical equipment (including fixed and portable heaters) pass visual inspection? - cord insulation not cracked or frayed - plug casing intact and pins straight - coloured insulation or copper of the internal wires completely covered - no burns / scorch marks or other signs of overheating |  |  |  | NOTE: label any faulty equipment with ‘do not use’ signs & take out of use until checked by an electrician. Encourage other staff to report any faults or damaged equipment. |  |
| Are there enough accessible power points to avoid overloading sockets? (Check for the use of extension cords, power strips, outlet expanders or adapters) |  |  |  |  |  |
| Are electrical cords identified and secured so they do not pose a trip or entanglement hazard? |  |  |  |  |  |

Other Hazards/Notes