Workplace Inspection Checklist

For use in Plant Rooms

How to use this plant room inspection checklist:

- Use this checklist to inspect Plant Rooms and any associated areas.

- Inspections should be carried out at least once per year and when the plant is running.

- When you have carried out an inspection and recorded any faults or weaknesses found, report to your Line Manager, together with your comments and recommendations for action.

- Keep a copy of each completed inspection checklist and record action taken to correct the faults you have reported.  Keep a copy of each completed inspection checklist and record action taken to correct the faults you have reported.

PLANT ROOM INSPECTION CHECKLIST

The answer to all these questions should be ‘yes’.  If ‘no’ you should note the location and brief details and investigate the problem further to identify actions.

| Areas inspected |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Inspected by |  |  |  |  | Date |  |

| HAZARD | YES/NO/N/A | COMMENTS (location & brief details) | ACTION TAKEN or RECOMMENDED (with completion dates) |
| --- | --- | --- | --- |
| Layout & Security |  |  |  |
| Is there safe access? |  |  |  |
| Is there enough space to move around safely? |  |  |  |
| Are windows / Mesh / Grills in good condition? |  |  |  |
| Can the door(s) be securely locked? |  |  |  |
| Is external lighting adequate? |  |  |  |
| Environment |  |  |  |
| Is the room temperature adequate? |  |  |  |
| Is the room adequately ventilated? |  |  |  |
| Are there sufficient storage facilities? |  |  |  |
| Can the windows be easily opened if necessary? |  |  |  |
| Is lighting adequate in all areas? |  |  |  |
| Is the area clean & free of clutter? |  |  |  |
| Is rubbish collected often enough? |  |  |  |
| Is the floor finish suitable for the prevailing conditions? |  |  |  |
| Slips, Trips and Manual Handling |  |  |  |
| Are floors free of trailing cables, boxes & other trip hazards? |  |  |  |
| Are floor surfaces in a safe condition? (No cracks, tears, fraying, slippery or uneven spots etc.) |  |  |  |
| Are stepladders or a purpose built hop up available to reach plant or valves at height and in safe condition? |  |  |  |
| Are raised areas marked and / or has suitable signage? |  |  |  |
| Is there sufficient head clearance? |  |  |  |
| Are hanging pipes, brackets, trunking or other equipment suitably marked or protected? |  |  |  |
| Fire - contact Campus Facilities Manager if problems with fire doors, extinguishers or notices |  |  |  |
| Are combustible materials and ignition sources kept to a minimum? |  |  |  |
| Are combustible materials kept away from potential ignition sources? |  |  |  |
| Are flammable & hazardous chemicals used & stored safely? (Risk assessments needed for chemicals with hazard warning labels on container) |  |  |  |
| Are fire exits & escape routes free of obstructions? |  |  |  |
| Are fire doors unobstructed and do they self-close properly? |  |  |  |
| Are vision panels in doors unobstructed? |  |  |  |
| Are fire extinguishers in the correct place and fitted with seals? |  |  |  |
| Are up to date fire action notices displayed adjacent to manual fire alarm call points? (what to do in event of fire & fire assembly points) |  |  |  |
| Can fire alarms be heard in all areas? |  |  |  |
| Are smoking rules followed? |  |  |  |
| Is emergency lighting installed and operational? (Check LED) |  |  |  |
| Are smoke/heat detectors and break glass call points unobstructed? |  |  |  |
| Is fire stopping in place and in good condition? (check around cables, pipes and ducting passing through walls) |  |  |  |
| First Aid |  |  |  |
| Are up to date posters displayed with names & locations of trained first aiders? |  |  |  |
| Are first aid boxes clearly marked & kept fully stocked with stock that has not exceeded a given expiry date? |  |  |  |
| Do staff and students know how to access and use the online incident reporting system? Assure - Portal |  |  |  |
| Fittings & Equipment |  |  |  |
| Are fittings in good condition? (e.g. light fittings, socket outlets, shelving etc.) |  |  |  |
| Are hot, sharp or dangerous moving parts guarded? |  |  |  |
| Are instructions manuals available? |  |  |  |
| Electrical |  |  |  |
| Are there enough accessible power points to avoid overloading sockets? |  |  |  |
| Is all electrical equipment tested regularly? (tested every 3 years - check test labels) |  |  |  |
| Are electrical cabinets and panels in good condition? |  |  |  |
| Does all electrical equipment (including fixed and portable heaters) pass visual inspection? |  |  |  |
| Are suitable electrical warning notices displayed? |  |  |  |
| Visual Inspection |  |  |  |
| Is the cable free from damage? |  |  |  |
| Is there damage to the plug - is the casing intact and pins straight? |  |  |  |
| Is the lead intact without any joins? |  |  |  |
| Is the outer covering of the cable gripped where it enters the plug or equipment (see if the coloured insulation or copper of the internal wires are completely covered). Is the plug, equipment or socket free from indications of overheating (e.g. brown burn marks) label any faulty equipment with ‘do not use’ signs & take out of use until checked by an electrician. Encourage other staff to report any faults or damaged equipment |  |  |  |
| Other Hazards/Notes |  |  |  |